A Fuzzy based Automatic Pap Screening System – ROI Detection

M. Mohideen Fatima alias Niraimathi1, S.P. Raja2

1Associate Professor, National College of Engineering, Tirunelveli, Tamilnadu, India
1amitaf_mathi@yahoo.co.in

Abstract— In this paper an efficient and fast Fuzzy-based Automatic Pap Screening Systems -FAPSS- algorithm, that can be useful for future ACSS. The algorithm detects areas of the smear wherein the cells are located. Identification of the best areas for screening provides the importance degree for evaluation of each field. The results obtained by the proposed algorithm have a high concordance degree with the cytotechnologist evaluation. This approach is based on fuzzy techniques which aids in a good processing of both vagueness and in determination characteristic of cytology cell images. The proposed efficient and very fast fuzzy-based APSS algorithm for ROI detection, which simulates technologists' process, simplifies their work, and provides a very high ROI detection concordance percentage with the cytotechnologist. The results obtained by the proposed approach show the effectiveness of fuzzy techniques in vagueness treatment.

Keywords— Fuzzy techniques, Computer Vision, Scene analysis, Cervical cancer screening, Pap

Introduction

Cytopathology is a branch of pathology that studies and diagnoses diseases on the cellular level. The most common use of cytopathology is the Pap smear, used to detect cervical cancer at an early treatable stage.Cytopathology is a very useful tool for screening of cervical carcinoma. Despite all of the technological advances which have occurred in medicine in the last 100 years, the cervicovaginal smear, or Pap smear, in honor of its developer, Dr. George Papanicolaou, is still one of the few tests where automation has not been yet achieved [2],[3]. Diagnostic cytology has two main steps: 1. The cytotechnologist microscopically examines the morphologic features of the cells, relates these findings to the patient's clinical history, and renders a cytologic impression. 2. Cytopathologists diagnose disease by analyzing cells previously selected by cytotechnologist.

Over the last 60 years, several modification of terminology for cytological diagnosis was used. Today, the most accepted one is The Bethesda System [4] proposed initially in 1989, and actualized in 2001. In this system, cytologies are divided into two classes: negatives and pathological. In the later group there are, according to the seventy of the lesion, four diagnostic groups: atypia, low grade lesion, high grade lesion and carcinoma. The main objective of screening is identifying these pathological groups, from atypia until carcinoma. Most atypias can be resolved spontaneously, but up to 30% can progress to a carcinoma, if they are not adequately controlled[5]. Also, most lesions would progress to a carcinoma[2-4]. It is estimated that the Cytology screening test has a 15% “false negative” rate and a 5% “false positive” rate. A “false positive” is mistakenly calling a normal specimen as “positive”. This results in unnecessary anguish for the patient and additional expense of time and money to cover such follow-up testing as a repeated Pap smear or a costly colposcopic examination. Recently, efforts to improve Pap smear performance have focused on reducing the number of “false negative” smears, that is, cases in which premalignant or malignant cells have been misdiagnosed as normal. Measures adopted to improve laboratory performance on this point include re-screening of 10-20% of slides initially evaluated as negative. Recently, several technologies have been developed to optimize Pap test screening by reducing the “false negative” rate associated with cervical cytological screening. The two major components to this “false negative” rate are “false negative” related to sampling error and false negatives related to detection error. About two-thirds of “false negative” are a result of sampling error and the remaining one-third a result of detection error. Each of the new technologies is directed at one of these components of “false negative”. Thin-layer cytology aims primarily to fix sampling error, whereas computerized re-screening targets detection error. This implies that neither technology will be able to reduce “false negative” beyond a certain threshold.

This type of problem typically requires a two-stage process.

1. Region of Interest -ROI- detection, it means intelligently eliminating all normal images “the hay”. Normal images can be eliminated and suspicious images saved for further processing.

2. Region of Interest classification, wherein the suspicious images are analyzed using computer algorithms to obtain best classification.

The aim of the work here presented is to develop an automate algorithm addressed to ROI detection, and suitable of interacting with the human technologist. To do it we propose a Fuzzy-based Automatic Pap Screening System -FAPSS-. The system is a pixel classification approach that performs a fuzzy local feature analysis and is faithful to the principle of least commitment [3] in that partial information is accumulated before a final decision is made.

pixel classificaton

The proposed -FAPSS- pretends to incorporate, as much as, possible cytotechnologists knowledge and experience, but avoiding their subjectivity. Moreover, the results provided by the ROI detection have to be independent of human bias and error, but making easier its use on the part of the technician. To manage to get these goals our system makes use of segmentation by pixel classification wherein local features are analyzed using fuzzy techniques [5] and [7] . Moreover, the algorithm has been applied to gray-scale images, because of they are less sensitive to variations of lighting conditions and staining quality than those of color images, and experienced human observers can easily differentiate cells in gray level images. Following the usual structure of pixel classification systems, the identification of areas related with the cells To implement these steps in a suitable way, vagueness factors introduced by vaginal secretions, inflamatory cells, cel-clumbing ,  bloodstaining , air-drying and other cell sampling and preparation artifacts and have to be taken into account. So, considering the technician way of work, after an analysis of the images focused on gray level and texture characteristics, besides Cells and Background, two more regions, containing the other elements appearing within the cell images, have to be considered by our pixel classification system.These regions are: Region 1. Includes inflamatory cells, cel-clumbing and bloodstaining, Region 2. Includes vaginal secretions, air-drying and other cell sampling and preparation artefacts.

system description

3.1 Regions detection

Certain features are considered to detect the regions appearing within the cell images. The overall process is shown in the following Figure 1. The regions based on GLL and DOH is shown in Table 1.

Fig. 1: Overall process

TABLE I
REGIONS BASED ON GLL AND DOH

| Regions | Gray Level | Homogeneity |
| --- | --- | --- |
| Cells | LM | M |
| Background | L | H |
| Back Contour | L | VS |
| Region 1 | DM | VH |
| Region1contour | DM | VS |
| Region2 | LM | VH |

3.2 Fuzzy Rules

Considering variability and vagueness within the images and linguistic descriptions of the elements, we represent the Fuzzy knowledge by the Fuzzy rule base:

RC: if G-L(pij) = LM & Hom(pij) = M

Then pij is Cell.

RB: if G-L(pij) = L & Hom. (pij) = H

Then pij  is Background.

RBC:if G-L(pij) = L & Hom. (pij) = VS

Then pij  is Contour of Background.

RR1: if G-L(pij)=DM & Hom.(pij) =VH

Then pij  is Region 1.

RR1C:if G-L(pij)=DM & Hom.(pij) = VS

Then pij  is Contour of Region1.

RR2:if G-L(pij)=LM & Hom.(pij) = VH

Then pij  is Region 2.

.So, considering the technician way of work, after an analysis of the images focused on gray level and texture characteristics, besides Cells and Background, two more regions, containing the other elements appearing within the cell images, have to be considered by our pixel classification system. These regions are: Region 1. Includes inflamatory cells, cel-clumbing and bloodstaining, Region 2. Includes vaginal secretions, air-drying and other cell sampling and preparation artefact.

The Contour regions which are transition areas, with special characteristics, have to be kept in mind.The gray level lightness and homogeneity degree are evaluated, respectively, by means of the average and standard deviation of the gray values measured over a 3x3 window.Then, membership functions are obtained starting from the probability density and distribution functions, of these values evaluated over the training images following the process explained in [4]. The fuzzy sets so obtained are aggregated by the minimum, according to the set of rules previously defined, to get the regions fuzzy sets determined by the membership functions. This type of method used to detect Region of Interest is called as Direct Method of cytology cells detection.

3.3 RONI Detection:

To provide cytotechnologist with an accurate ROI detection and location, the output of the system must give information about all the best areas for screening.The identification of the Regions of Interest can be performed locating the ROI directly or finding and eliminating the region of no interest RONI. The RONI membership function is obtained implementing this rule as follows

Here a fuzzy Max operation is performed between the membership values of background, region 1 and region2 is used to eliminate the non region of interest. The complement of RONI gives the Region of Interest. This is also referred as Indirect Method of cytology cells detection.

3.4 Cells Detection:

For a given image I, after obtaining µROI(pij) and µC(pij) to decide if the image has to be analyzed, and the membership function with which this analysis has to be performed, next rule is applied:

Rcells:If

then I is analysed, else I is rejected.

3.5 ROI Detection and Location:

To get the final ROI to be given to cytotechnologist, a regional analysis is performed. A fuzzy morphological structural element has been used to detect the areas of the image in which there exist interesting cells in a high enough number. A circular structural element having a 2.9 pixels radius has been chosen and the morphological operations are performed on the threshold ROI.

Implementation Results

The experimental outputs are as shown in Figure 2(a-k).

a)original image                b) g-l-l image

c)homogeneity image     d) prob.density

image

e)Region fuzzy sets     f) Prob distri image

g)ROI image             h)TROI image

i) histogram of image

j) histogram of homogeneity image

k) Rcells image

Conclusions

An efficient and very fast fuzzy based FAPSS algorithm for ROI detection, which simulates technologists' process, simplifies their work, and provides a very high ROI detection concordance percentage with the cytotechnologist has been proposed. The results obtained by the proposed approach show the effectiveness of fuzzy techniques in vagueness treatment, habituation, cytotechnologist fatigue, incomplete screening of a specimen, and cytotechnologist shortage. All of these factors contribute to human error. Automation of the process is challenging due to the tremendous amount of data to be processed. We have used manual method of membership function generation from the gray level lightness and degree of homogeneity histograms. The fuzzy systems can be tuned in the following ways to achieve best results. Reviewing model input and output variables, and if required redefine their ranges. We can define additional sets on the universe of discourse. The use of wide fuzzy sets may cause the fuzzy system to perform roughly. So by providing sufficient overlap between neighbouring sets an accurate fuzzy set can be derived. It is suggested that triangle-to-triangle and trapezoid-to-triangle fuzzy sets should overlap between 25% to 50% of their bases to get more accurate results. Reviewing the existing rules, and if required adding new rules to the rule basewe can improve accuracy. Revising  shapes of the fuzzy sets  can be done for an apt membership function since most cases, fuzzy systems are highly tolerant of a shape approximation.

References

[1]  Caroline McNeil and Nicole Gottlieb "Bethesda 2001: A Revised System        for Reporting Pap Test Results ",April 24, 2002.

[2]   Koss LG. "The Papanicolaou test for cervical cancer detection: a triumph         and a tragedy" JAM4 1989; 261, 737-43.

[3] Koss LG, Schreiber K, Elberg P, Mango L. "Evaluation of the PAPNET       Cytologic system for quality control of cervical smears". Am JClin Pathol       1994; 101, pp. 220-229.

[4] Karnon.J., Peters.J., Platt.J., Chilcott.J., McGoogan .E., and Brewer.N., "Liquid- based cytology in cervical screening: an updated rapid and         systematic  review and economic analysis" Health Technology        Assessment 2004; Vol. 8: No. 20.

[5] Keller .J, and  Gader.P, "Fuzzy Logic and the Principle of Least Commitment in Computer Vision", Proceedings, IEEE Conference on Systems, Man, and  Cybernetics, Vancouver, BC,October, 1995, pp. 4621-4625.

[6] Mamdani.E.H., "Application of fuzzy logic to Approximate reasoning using linguistic synthesis". IEEE Trans. Computers C-26, No. 12, 1997, pp. 1182- 1191 .

[7] Montseny.E., and Sobrevilla.P., "Application of fuzzy techniques to the design of algorithms in computer vision", Mathware &Soft Computing Vol. 2- 3,1998, pp. 223-230.

[8] Park.J., and Keller.J., "Fuzzy Patch Label Relaxation in Bone Marrow Cell Segmentation", Proceedings, IEEE International Conference on Systems, Man, and Cybernetics, Orlando, FL, October, 1997, pp. 1133-1138.

[9] Sobrevilla.P., Montseny .E.,and Keller.J., "White Blood Cell Detection in Bone Marrow Images", Proceedings, on the l8th Intr. Conf. Of the North American Fuzzy Information Processing Sociely, New York, June, 1999,   pp. 403-407.

[10] Sobrevilla.P., Keller.J., and  Montseny.E., "Using a Fuzzy Morphological  Structural Element for Image Segmentation". Proc. of 19th NAFIPS International Conference, Atalanta, GA, USA, July 2000, pp 95-99.